## Slide 1: Week 2- Fire Safety
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic

## Slide 2: Objective(s)
Fire Extinguisher Types
Handling Fire Extinguishers
Fire Blankets
Fire Safety In Public
Fire Safety Planning At Home
First-Aid applications
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic

## Slide 3: Fire Extinguisher Types
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic

## Slide 4: P.A.S.S
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Pull the pin to unlock the operating lever to discharge the extinguisher
Aim low with the fire extinguisher at the base of fire
Squeeze the lever above the handle – releasing the lever will stop discharge
Sweep from side to side while moving carefully toward the fire until the flames appear to be out. Watch the fire area. If the fire re-ignites, repeat the process.
Additional reads: https://bit.ly/2GXB3nQ
https://bit.ly/1DFUgeT

## Slide 5: Fire Blankets
https://bit.ly/2QfpozN
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
What are fire blankets?
Fire-resistant sheets of material that you can use to cover a fire to cut its supply of oxygen or wrap around a person whose clothes are on fire. You can also only use them on very small and contained fires (like fat-pan fires on the cooker)
Fire Blanket Maintenance
Once used you must dispose of it and replace with a new fire blanket.
Additional reads: https://bit.ly/2ENCOPK

## Slide 6: Fire Safety In Public
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Over 700 high-risk buildings in Kuala Lumpur – Shopping malls, hotels & factories.
First sign of warning will be hearing the smoke alarms/ fire bell. Possible sprinklers kick into action.
Remain calm and collected as best as possible.
Look for Emergency Exits
If suspected fire in public,
Smoke Detector: https://bit.ly/2s20mdO
Fire Bell Alarm: https://bit.ly/2LJnBSV

## Slide 7: Fire Safety At Home
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Heroics don’t start with fire fighters, they start at home with you!
Do you have fire extinguishers/ fire blankets/ smoke detectors at home?
Fire escape plan?
Electrical safety?
Additional reads: https://bit.ly/2LyccYC

## Slide 8: Fire Extinguishers / Fire Blankets
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Place at the highest probability of a fire – Kitchen, garage/workshop, laundry room, bedrooms & grill.
Placed at a location easily accessible at a maximum of 5 feet from the ground Have at least 1 fire extinguisher on every level of your home.
Identify whether the fire is manageable to be extinguish.

## Slide 9: Smoke Detectors
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Two-thirds of all fire deaths occur in homes with either no working smoke alarm or no alarm period.
Make sure there are 1 smoke alarm installed in every bedroom, outside every sleeping area & every floor.
Test your alarm monthly by hitting the “test” button.
Ensure your alarm works at all times.

## Slide 10: Fire Escape Plan
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
The goal is to reach outside as fast as possible with the least amount of effort required.
Inspect all possible exits and escape routes together with everyone in your household to plan together.
Choose an outside meeting place within a safe distance from the house to rendezvous together.
Be specific with your details to the emergency operator.
Remain outside until Firefighters has declared that it is safe.

## Slide 11: Optional Assignment (2 marks)
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Sketch a detailed plan of your ‘Fire Escape’ with the route to be taken from your house with the least amount of time.
State the procedure needed for your plan to succeed.
Specify the total time required from your house to the ‘Safe Zone’.
Due date submit is before the end of the course.
Additional reads: https://bit.ly/2DcEUHS

## Slide 12: Electrical Safety
Additional reads: https://bit.ly/2GO4RPK
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
Check all cords, plugs, surge protectors and extension cords for frayed casing, exposed wire – Replace immediately.
Never run extension cords under carpets or over door thresholds.
Do not OVERLOAD one outlet with several high-wattage.
Place heat-producing appliances away from flammable or combustible goods
Keep your kitchen exhaust fan clean and free from grease, lint and other obstructions.
Replace any electrical items when outlet sparks appear immediately!

## Slide 13: First Aid Applications
Boys’ Brigade 8th Petaling Jaya Fire & Rescue- Basic
First-degree burns damage only the outer layer of skin
Second-degree burns damage the outer layer and the layer underneath
Third-degree burns damage or destroy the deepest layer of skin and tissues underneath
Stop the Burning Process
  Remove smoldering clothing
  Brush off dry chemicals
  Irrigate liquid chemicals
Cool the burn
  Hold the burned area under cool (not cold) running water for 10 or 15 minutes or until the pain subsides. If this is impractical, immerse the burn in cool water or cool it with cold compresses. Cooling the burn reduces swelling by conducting heat away from the skin. Don't use ice or ice water. Putting ice directly on a burn can cause further damage to the wound.
  Do not remove clothing is the liquid is already cooled off
Clean the wound
  Use mild soap and tap water to wash the injury. Gently remove any loose bits of debris in the wound. If blisters are intact, don't break them.
Apply an ointment
  Use anesthetic cream, burnt ointment, or aloe gel to soothe the area and prevent dryness.
Cover the burn
  Use sterile gauze bandage or clean handkerchief. Don't use fluffy cotton, or other material that may get lint in the wound. Wrap the gauze loosely to avoid putting pressure on burned skin. Bandaging keeps air off the burn, reduces pain and protects blistered skin.